## Slide 1: Urinalysis Order Guide
Urinalysis Ordering Guide |  |  |  |  | 
Epic code | Alias Names | Sample Type | Test Catalog Description | Sunquest Order Code | Additional Information
LAB3914 - URINALYSIS WITH REFLEX TESTING | UA W/ REFLEX | Urine | URINALYSIS WITH REFLEX TESTING- QC ALL | UMACRS | Urinalysis with reflex to microscopic analysis and culture if indicated.
LAB347 - URINALYSIS | DIPSTICK ONLY | Urine | URINALYSIS- QC ALL | UMACRO | DIPSTICK ONLY: no microscopic exam, no culture
LAB2104-URINE MICROSCOPIC | MICROSCOPIC ONLY | Urine | URINE MICROSCOPIC ONLY-QC ALL | UMICOL | MICROSCOPIC ONLY: no dipstick, no culture
LAB239 - URINE CULTURE | N/A | Urine | URINE CULTURE-Peoria | VCURC | 

## Slide 2: QC Microscopic and Culture Reflex Criteria
Microscopic exam will not be done on samples that do not meet criteria, unless specifically ordered by the physician.
Those that require a microscopic exam are samples that have one of the following characteristics:
Clarity: Cloudy or Turbid
Nitrite: Positive
Leukocyte Esterase: >TRACE
Protein: equal to or greater than 100mg/dL
RBC’s: >TRACE
Physician Request
Urine culture reflex criteria:
Nitrite Positive AND >10 WBC seen on Microscopic exam
Leukocyte Esterase Moderate AND >10 WBC seen on Microscopic exam
Leukocyte Esterase Large AND >10 WBC seen on Microscopic exam